Control Switch Assembly

Single pole/single throw, single pole/double throw and double pole/double throw toggle switches with stainless steel switch plate and indicator lights. Available in single and multiple gang configurations.

Technical Specifications

| Construction | Switch: toggle switch with pre-wired pigtails Switch Plate: Stamped stainless-steel switch plate pre-punched for switch(es) Indicator light(s): Available in red, green or amber |
| --- | --- |
| Finish | Switch plate brushed stainless steel |
| Electrical | 120VAC, 277VAC, 12VDC, 24VDC |
| Dimensions | 4.5”H x varied width x 1”D X length varies on gang configuration |
| Compatible | All sign series |

Control Switch Customization Choices

| #### Switch Assembly Configurations | #### Any combination of single pole single throw, single pole double throw and double pole double throw switches up to an 8-gang configuration. |
| --- | --- |
| #### Custom Switch Plate | #### Switch plate pre-punched to fit gang configuration |
| #### Indicator Lights | #### Any combination of light colors available |